Epics Motors Implementation in Sardana

# 1. create a new sardana instance.
### Terminal 1: Sardana EpicsModul
### epicsmodule does not exist. Do you wish to create a new one (Y/n) ? y
# /usr/lib/python3/dist-packages/sardana/src/sardana/pool/poolcontrollers/HklPseudoMotorController.py:52: PyGIWarning: Hkl was imported without specifying a version first. Use gi.require_version('Hkl', '5.0') before import to ensure that the right version gets loaded.
# from gi.repository import Hkl
# MainThread WARNING 2020-08-31 14:22:49,310 dide17.basisit.de:10000.Pool_epicsmodule_1: Received elements error event Pool was shutdown or is inaccessible
# 2, using a new profile:
### Terminal 2: spock - - profile=EpicsModule

MainThread INFO 2020-08-31 14:23:13,148 TaurusRootLogger: Using PyQt4 (v4.12.1 with Qt 4.8.7 and Python 3.7.3)
MainThread INFO 2020-08-31 14:23:13,303 TaurusRootLogger: Plugin "taurus_pyqtgraph" lazy-loaded as "taurus.qt.qtgui.tpg"
Profile 'EpicsModule' does not exist. Do you want to create one now ([y]/n)? y
Available Door devices from dide17.basisit.de:10000 :
Door/blender/1 (a.k.a. Door/blender/1)
Door/python3tangods/1 (a.k.a. Door/python3tangods/1)
Door_demo4_1 (a.k.a. Door/demo4/1)
Door_epicsmodule_1 (a.k.a. Door/epicsmodule/1) (running)
Door_simulation_1 (a.k.a. Door/simulation/1)
Door name from the list? Door_epicsmodule_1
Storing ipython_config.py in /hzb/huiling/.ipython/profile_EpicsModule... [DONE]
Spock 3.0.2-alpha -- An interactive laboratory application.

help -> Spock's help system.
object? -> Details about 'object'. ?object also works, ?? prints more.

IPython profile: EpicsModule

Connected to Door_epicsmodule_1

Door_epicsmodule_1 [1]:

# 3. Operation in Spock

Door_epicsmodule_1 [1]: Pool_epicsmodule_1.put_property({"PoolPath":["/controllers/simulationEpic
        ...: s"]})
# 4. Restart Sardana EpicsModule

# 5. Operation in Spock

Door_epicsmodule_1 [2]: defctrl SimulationsEpicsMotorController2 epicsMotorCtrl PV="dist222dh1600:m"
Created epicsMotorCtrl

Door_epicsmodule_1 [3]: defelem epicsM1 epicsMotorCtrl 1
Created epicsM1

Door_epicsmodule_1 [4]: defelem epicsM2 epicsMotorCtrl 2
Created epicsM2
Door_epicsmodule_1 [5]: wa
Current positions (user, dial) on 2020-08-31 14:26:47.948128

       epicsM1 epicsM2
User 7.9980 298.0800
Dial 7.9980 298.0800